| Subject 主題: How to control AI/O and DI/O of Advantech DA&C cards in GeniDAQ? |
| --- |
| Prepared by :Kurt Chen 製作者 | Verify by: 校對者 | Confirmed by: |
| Filename of video影像檔名: | Location 所在位置: |

| 1.0 | Subject Description 主旨說明 | This Demo video shows you how to control Advantech DA&C cards in GeniDAQ software. |
| --- | --- | --- |
| 2.0 | Suitable for 適用對象 | All Advantech DA&C cards users. |
| 3.0 | System requirement 系統需求 | WinXP/2000/98/95/NT |
| 4.0 | System architecture and configuration 系統架構與設定 | DA&C cards Advantech GeniDAQ software Install Advantech Device Manager Install DLL driver for plugged DA&C cards |
| 5.0 | Preventive Action 操作步驟 | Open GeniDAQ builder. Add AI/O or DI/O icon on the TASK window. Double-click the selected icon to choose DA&C cards to control with. Get proper object on the DISPLAY window Create a link between the object on DISP and the icon on TASK by double-clicking the object (for AO or DO) Create a tag on TASK to input command for AO or DO Run the program to test the results. |